## Cover
|  |  | © 2018 |  | Survey Department
OALC4 - Type 30
Greenland Connect North Segment 06 From BMH Maniitsoq to BU Maniitsoq AS-LAID ROUTE POSITION LIST
| Issue: AL01 |  |  |  | Date: 19-Jan-2018
AUTHORISATION
SIGNATORY |  | SIGNATURE |  | NAME |  | DATE
A. TRAHAY
ORIGINATOR | [5 empty] | 19-Jan-2018
CHECKED |  |  |  | B. LEGREE |  | 19-Jan-2018

## Check List
AS-LAID ROUTE POSITION LIST (RPL) CHECKLIST
This Check List is provided to assist in preparing an as-laid RPL. If any questions are answered "No" the problem should be rectified and the answer changed to Yes" or the problem(s) noted in the comments sheet.
|  |  | Yes | No | N/A
Has a path been prepared in MakaiPlan?
Has the path been checked for negative and excessive slack values?
Have these, if existing, been resolved?
Has the path been checked for spikes (zig-zags)?
Have these, if existing, been resolved?
Has the "Cover" worksheet been completed?
Has the "Changes List" worksheet been completed including history of all RPL issues?
Has the "RPL Abbreviations" worksheet been completed?
Are crossing positions of pipelines and cables indicated and current name used?
Do depths at ACs correlate with those at the same position on survey charts?
If the cable has "cut" a corner are the following positions noted?
Where the cable left the designed route?
Along the as-laid cable route?
Where the cable rejoins the designed route?
Are route distances calculated as Rhumb Lines (Loxodromes)?
Does the as-laid cable length exceed the cable route length between bodies?
Are all bodies, splices and joints, etc included in the RPL?
Does the RPL agree with the SLD?
Has the RPL been checked and agreed by all parties?
Originator A. TRAHAY | Checked B. LEGREE

## RPL Abbreviations
Abbreviation | Meaning | Typical Use in MakaiPlan | MakaiPlan Type
ABxx | As-Built | AB01 | Ref
AC | Alter Course | AC1 | Ref
AF | As Found (Cable) | CX IS AF CABLE 1 | Ref
ALxx | As-Laid | AL01 | Ref
AP | Articulated Pipe | AP START | Ref
BA | Beach Allowance | BA 50m | Cable
BMH | Beach ManHole | BMH PORTH CURNO | Ref
BU-xxx | Branching Unit | BU-1 (ABJ) | Body
CA | Cable Allowance (Beach/Final Splice) | CABLE ALLOWANCE | Ref
CB | Concession Block | CB ENTER SHELL B2 | Body
CC | Cable Corridor | CC ENTER | Cable
CRE | Cable route Estimate | CRE01 | Ref
CRS | Cable Route Study | CRS01 | Ref
CT | Comment | CT ENTER SOFT SEDIMENT | Ref
CX | Cable Crossing | CX IS CABLE 1 | Ref
CZ | Contiguous Zone | MB CZ ISO/EZ ISO | Ref
DA | Double Armour | DA-14 | Ref
DB | Database position of cable | CX IS DB CABLE 1 | Ref
DE | Duct End | DE | Cable
DIS | Disputed Maritime Boundary | MB TW ISO/EZ DIS | Ref
DOB | Depth of Burial | DOB 1m | Ref
DS | Duct start | DS | Ref
DTS | Desk Top Study | See "CRS" | Ref
EA | Earth Plate | EA SEA EARTH PLATE | Ref
EOB | End of burial | PLUP EOB | Ref
EZ / EEZ | Exclusive Economic Zone | MB EZ ISO/CZ ISO | Ref
FS | Final Splice | FS-ISN-001 | Ref
FZ | Fishing Zone | MB FZ ISO/TW ISO | Ref
HDA | High Strength Double Armour | HDA-17 | Ref
IS | In Service | CX IS CABLE 1 | Body
IS | Initial Splice | IS-IBZ-001 | Ref
JB | Joint Box | JB 1002AB-1 | Body
JBT | Technical Joint Box | JBT 1004AB | Body
KP | Kilometre Point | KP 1521.222 | Ref
LC | Land Cable | LC | Cable
LP | Landing Point | LP PORTH CURNO | Ref
LW | Lightweight | LW-17 | Cable
LWP | Lightweight Protected | LWP-17 | Cable
MB | Maritime Boundary | MB TW ISO/EZ ISO | Ref
MBC (HG) | Plough With Caution - Hardground layer within target burial | MBC (HG) | Ref
MBC (HT) | Marginal Burial Conditions- High Tensions possible - Stiff/Dense Sediments | MBC (HT) | Ref
MBC (SB) | Marginal Burial Conditions -Seabed features (Boulders, pockmarks etc ) | MBC (SB) | Ref
MBC (SC) | Marginal Burial Conditions -Strong Currents | MBC (SC) | Ref
MBC (SL) | Marginal Burial Conditions -marginal slopes | MBC (SL) | Ref
MBC (SR) | Marginal Burial Conditions -Subcropping Rock within target burial | MBC (SR) | Ref
MBC (SS) | Marginal Burial Conditions - Soft sediment - Potential run away | MBC (SS) | Ref
MDA | Medium Double Armour | MDA-17 | Cable
MG | Magnetometer Identified Cable | CX IS AF MG CABLE 1 | Ref
OCB | Oil Concession Block | OCB RC31- ENTER | Ref
OOS | Out of Service | CX OOS CABLE 1 | Ref
PL | Post load | PL01 | Ref
PLB | Post Lay Burial | PLB START | Ref
PLDN | Plough Down | PLDN | Ref
PLI | Post-Lay Inspection | PLI START | Ref
PLIB | Post Lay Inspection and Burial | PLIB START | Ref
PLN | Planned cable | CX PLN CABLE 1 | Ref
PLUP | Plough Up | PLUP | Ref
PL-xxx | Post Load | PL01 | Ref
POL | Point On Line | POL | Ref
PSR-xxx | Post Survey Route | PSR01 | Ref
PTEQ | Passive Tilt Equaliser | PTEQ-01101 | Body
PTQ | PTEQ | PTQ 01101 | Body
PX | Pipeline Crossing | PX PIPELINE 1 | Ref
REH | Route Engineering Handbook | REH | Ref
RPL | Route Position List | RPL | Ref
R-xxx /RPTR | Repeater | R01101 | Body
SA | Single Armour | SA-14 | Cable
SAH | Single Armour Heavy | TR LWP-17/SAH-20 | Cable
SAL | Single Armour Light | SAL-17 | Cable
SC | Slack Change | SC 3% | Ref
SEQ-xxx | Shape Equaliser | SEQ-001 | Body
SJ-YYY-xxx | Ship Joint | SJ-ISN-001 | Body
SLD | Straight Line Diagram | SLD | Ref
SOB | Start of burial | PLDN SOB | Ref
SRxx | Survey Route | SR01 | Ref
SS | Sidescan Identified Cable | CX IS AF SS CABLE 2 | Ref
SSE | Separate Shore End | SSE | Ref
ST | Seabed Temperature | ST 15 | Ref
TEQ-xxx | Tilt Equaliser | TEQ-01101 | Body
TR | Transition | TR LWP-17/LW-17 | Ref
TS | Terminal Station | TS PORTH CURNO | Ref
TW | Territorial Waters | MB TW ISO/CZ ISO | Ref
WD | Water Depth | WD 2300 | Ref
Note on C28: Alcatel: Code is three letter ident for ship, eg "ISN" for Ile de Sein. Number (001) is incremented joint number made by ship.
Note on C32: Alcatel: Code is three letter ident for ship, eg "ISN" for Ile de Sein. Number (001) is incremented joint number made by ship.
Note on C73: Alcatel: Code is a three letter code to identify the ship, eg ISN for Ile de Sein.

## Change List
RPL, SLD & Route Engineering - CHANGES & TRACKING SHEET
ISSUE | DOCUMENT | DATE | CHANGE
PSR01 | RPL | 2014-12-18 | First draft of the Segment 6 (BU Maniitsoq to BMH Maniitsoq) Post Survey Route as presented to Tele-Greenland at Route Review on 16th Dec.
| Route Distance (From / To / Total) |  | 0 | 8.315 | 8.315 | Allan Griffiths
| Cable Distance (From / To / Total) |  | 0 | 8.834 | 8.834
| SLD | 2014-12-18 | Updated
| Crossings | 2014-12-18 | Updated
| Route Engineering | 2014-12-18 | Updated
PSR03 | RPL | 2016-10-28 | Third draft of the Segment 6 (BU Maniitsoq to BMH Maniitsoq) Post Survey Route. PSR02 route was only issued as Makai pathfile. Only change from PSR01 route is minor route alterations following review with ALDA and increase in BU allowance to be in line with ASN route engineering guidelines.
| Route Distance (From / To / Total) |  | 0 | 8.319 | 8.319 | Allan Griffiths
| Cable Distance (From / To / Total) |  | 0 | 8.978 | 8.978
| SLD | 2016-10-28 | Updated
| Crossings | 2016-10-28 | Updated
| Route Engineering | 2016-10-28 | Updated
PSR04 | RPL | 2017-02-06 | Fourth draft of the Segment 6 (BU Maniitsoq to BMH Maniitsoq) Post Survey Route. Only change from PSR03 route is formatting change to maritime boundaries and plough events.
| Route Distance (From / To / Total) |  | 0 | 8.319 | 8.319 | Allan Griffiths
| Cable Distance (From / To / Total) |  | 0 | 8.978 | 8.978
| SLD | 2017-02-06 | Updated
| Crossings | 2017-02-06 | Updated
| Route Engineering | 2017-02-06 | Updated
PSR05 | 2017-06-23 | Route Length | 8.297km | Landings updated with design HDD drilling and punch positions
PSR05 | 2017-06-23 | Cable Length | 8.978km
AB01 | 2017-07-06 | Route Length | 8.320km | As-Built RPL with cable lengths from CPRs received from Calais Factory. BU Maniitsoq configuration refined based on review by ASN Marine. HDD Drilling Position and Punch Out updated to As-Built positions.
PSR05 | 2017-06-23 | Cable Length | 9.094km
PL01 | 2017-08-08 | Route Length | 8.708km | Post-load RPL with cable lengths from SLDs received from Calais Factory. BU Maniitsoq configuration and position changed based on review by ASN Marine.
PL01 | 2017-08-08 | Cable Length | 9.094km
PL02 | 2017-08-16 | Route Length | 8.708km | RPL reversed to match lay direction. No further changes.
PL01 | 2017-08-08 | Cable Length | 9.094km
Provi AL01 | RPL | 2017-09-01 | RPL Provisional As Laid - From BMH Maniitsoq to BU Maniitsoq Segment laid by C/S Ile de Sein - August 2017.
| Route Distance (From / To / Total) |  | 0 | 8.745 | 8.745 | M. Fouquet
| Cable Distance (From / To / Total) |  | 0 | 8.867 | 8.867
| SLD | 2017-09-01 | Updated
| Bathy | 2017-09-01 | Updated
Provi AL02 | RPL | 2017-11-18 | RPL Provisional As Laid - From BMH Maniitsoq to BU Maniitsoq BMH Maniitsoq position updated with shore team data.
| Route Distance (From / To / Total) |  | 0 | 8.751 | 8.751 | Oriane Huguenin
| Cable Distance (From / To / Total) |  | 0 | 8.867 | 8.867
| SLD | 2017-11-18 | Updated
| Bathy | 2017-11-18 | Updated
AL01 | RPL | 2018-01-19 | Final As-laid RPL after customer approval.
| Route Distance (From / To / Total) |  | 0 | 8.751 | 8.751 | Antoine Trahay
| Cable Distance (From / To / Total) |  | 0 | 8.867 | 8.867
| SLD | 2018-01-19 | None
| Crossings | 2018-01-19 | None

## RPL
Point No | Comment | Latitude |  |  | Longitude |  |  | A/C | Brg (°) | Alter Course (- P + S) | Depth (m) | Leg Dist (km) | Cum KP Dist (km) | Reverse KP Dist (km) | Cable Type | Surface Slack (%) | Leg Cable (km) | Cum Cable (km) | Cable by Type (km) | Lay Direction | Comment | Auto Label | Bottom Slack (%) | Body | Cum Dist by Rptr (km) | Reverse Cable Dist (km) | Vessel Install | Date Install
1 | BMH MANIITSOQ | 65 | 25.612 | N | 52 | 52.991 | W |  |  |  | -5 |  | 0 | 8.751 |  |  |  | 0 | 0 | ▼ |  |  |  | SAH-17 |  | 8.867
[9 empty] | 71.063 |  |  | 0 |  |  | SAH-17 | NA | 0.02 | [5 empty] | 0.18
2 | Cable allowance | 65 | 25.612 | N | 52 | 52.991 | W |  |  |  | -5 |  | 0 | 8.751 |  |  |  | 0.02 |  | ▼ |  |  |  | SAH-17 |  | 8.847
[9 empty] | 71.063 |  |  | 0.006 |  |  | SAH-17 | 3.71 | 0.006
3 | HDD drilling position | 65 | 25.613 | N | 52 | 52.984 | W | AC |  | -15.5 | -3 |  | 0.006 | 8.745 |  |  |  | 0.026 |  | ▼ | [5 empty] | 8.841
[9 empty] | 55.54 |  |  | 0.046 |  |  | SAH-17 | 13.11 | 0.052
4 | HDD Punch Out/Start Bend Restrictor | 65 | 25.627 | N | 52 | 52.935 | W | AC |  | -0.7 | 17 |  | 0.052 | 8.699 |  |  |  | 0.078 |  | ▼ | HDD Punch Out/Start Bend Restrictor |  |  |  |  | 8.789
[9 empty] | 54.858 |  |  | 0.003 |  |  | SAH-17 | 94.88 | 0.006
5 | End Bend Restrictor/Start AP | 65 | 25.6279 | N | 52 | 52.932 | W |  |  |  | 22 |  | 0.055 | 8.696 |  |  |  | 0.084 |  | ▼ | End Bend Restrictor/Start AP |  |  |  |  | 8.783
[9 empty] | 54.858 |  |  | 0.001 |  |  | SAH-17 | 59.98 | 0.002
6 | End AP | 65 | 25.6283 | N | 52 | 52.9307 | W |  |  |  | 23 |  | 0.056 | 8.695 |  |  |  | 0.086 |  | ▼ | [5 empty] | 8.781
[9 empty] | 54.858 |  |  | 0.024 |  |  | SAH-17 | 12.21 | 0.026
7 | AC01 | 65 | 25.6357 | N | 52 | 52.9055 | W | AC |  | 14.9 | 35 |  | 0.08 | 8.671 |  |  |  | 0.112 |  | ▼ | [5 empty] | 8.755
[9 empty] | 69.744 |  |  | 0.051 |  |  | SAH-17 | 7.51 | 0.055
8 | AC02 | 65 | 25.6452 | N | 52 | 52.8435 | W | AC |  | 10.3 | 55 |  | 0.131 | 8.62 |  |  |  | 0.167 |  | ▼ | [5 empty] | 8.7
[9 empty] | 80.056 |  |  | 0.044 |  |  | SAH-17 | 6.98 | 0.048
9 | AC03 | 65 | 25.6493 | N | 52 | 52.7868 | W | AC |  | 19.2 | 72 |  | 0.175 | 8.576 |  |  |  | 0.215 |  | ▼ | [5 empty] | 8.652
[9 empty] | 99.24 |  |  | 0.061 |  |  | SAH-17 | 7.73 | 0.065
10 | AC04 | 65 | 25.6441 | N | 52 | 52.7097 | W | AC |  | 26.1 | 96 |  | 0.236 | 8.515 |  |  |  | 0.28 |  | ▼ | [5 empty] | 8.587
[9 empty] | 125.297 |  |  | 0.039 |  |  | SAH-17 | 3.62 | 0.041
11 | AC05 | 65 | 25.6318 | N | 52 | 52.6681 | W | AC |  | 7.7 | 106 |  | 0.275 | 8.476 |  |  |  | 0.321 |  | ▼ | [5 empty] | 8.546
[9 empty] | 133 |  |  | 0.036 |  |  | SAH-17 | 2.79 | 0.037
12 | AC06 | 65 | 25.6185 | N | 52 | 52.6338 | W | AC |  | 16.2 | 114 |  | 0.311 | 8.44 |  |  |  | 0.358 |  | ▼ | [5 empty] | 8.509
[9 empty] | 149.187 |  |  | 0.12 |  |  | SAH-17 | 2.03 | 0.122
13 | AC07 | 65 | 25.5632 | N | 52 | 52.5545 | W | AC |  | 9.8 | 135 |  | 0.431 | 8.32 |  |  |  | 0.48 |  | ▼ | [5 empty] | 8.387
[9 empty] | 158.993 |  |  | 0.032 |  |  | SAH-17 | 0.18 | 0.032
14 | AC08 | 65 | 25.5472 | N | 52 | 52.5398 | W | AC |  | 22.5 | 135 |  | 0.463 | 8.288 |  |  |  | 0.512 |  | ▼ | [5 empty] | 8.355
[9 empty] | 181.476 |  |  | 0.098 |  |  | SAH-17 | 0.18 | 0.098
15 | AC09 | 65 | 25.4946 | N | 52 | 52.543 | W | AC |  | 2.9 | 135 |  | 0.561 | 8.19 |  |  |  | 0.61 |  | ▼ | [5 empty] | 8.257
[9 empty] | 184.414 |  |  | 0.108 |  |  | SAH-17 | 0.56 | 0.109
16 | AC10 | 65 | 25.4367 | N | 52 | 52.5538 | W | AC |  | 8.7 | 130 |  | 0.669 | 8.082 |  |  |  | 0.719 |  | ▼ | [5 empty] | 8.148
[9 empty] | 193.145 |  |  | 0.384 |  |  | SAH-17 | 0.38 | 0.386
17 | AC11 | 65 | 25.2351 | N | 52 | 52.6669 | W | AC |  | -8.4 | 110 |  | 1.053 | 7.698 |  |  |  | 1.105 |  | ▼ | [5 empty] | 7.762
[9 empty] | 184.765 |  |  | 0.505 |  |  | SAH-17 | 0.47 | 0.507
18 | AC12 | 65 | 24.9646 | N | 52 | 52.721 | W | AC |  | 9 | 138 |  | 1.558 | 7.193 |  |  |  | 1.612 |  | ▼ | [5 empty] | 7.255
[9 empty] | 193.777 |  |  | 0.655 |  |  | SAH-17 | 1.82 | 0.667
19 | AC13 | 65 | 24.622 | N | 52 | 52.9227 | W | AC |  | -5.1 | 251 |  | 2.213 | 6.538 |  |  |  | 2.279 |  | ▼ | [5 empty] | 6.588
[9 empty] | 188.641 |  |  | 0.043 |  |  | SAH-17 | 0.51 | 0.043
20 | AC14 | 65 | 24.5993 | N | 52 | 52.9309 | W | AC |  | -4.7 | 255 |  | 2.256 | 6.495 |  |  |  | 2.322 |  | ▼ | [5 empty] | 6.545
[9 empty] | 183.962 |  |  | 0.564 |  |  | SAH-17 | 0.86 | 0.569
21 | AC15 | 65 | 24.2966 | N | 52 | 52.9813 | W | AC |  | 1 | 309 |  | 2.82 | 5.931 |  |  |  | 2.891 |  | ▼ | [5 empty] | 5.976
[9 empty] | 185.012 |  |  | 0.171 |  |  | SAH-17 | 0.27 | 0.171
22 | AC16 | 65 | 24.2051 | N | 52 | 53.0005 | W | AC |  | 7.6 | 316 |  | 2.991 | 5.76 |  |  |  | 3.062 |  | ▼ | [5 empty] | 5.805
[9 empty] | 192.642 |  |  | 0.143 |  |  | SAH-17 | 0.24 | 0.143
23 | AC17 | 65 | 24.1299 | N | 52 | 53.041 | W | AC |  | 1.6 | 321 |  | 3.134 | 5.617 |  |  |  | 3.205 |  | ▼ | [5 empty] | 5.662
[9 empty] | 194.219 |  |  | 1.506 |  |  | SAH-17 | 0.28 | 1.511
24 | AC18 | 65 | 23.3442 | N | 52 | 53.5186 | W | AC |  | 7.3 | 373 |  | 4.64 | 4.111 |  |  |  | 4.716 |  | ▼ | [5 empty] | 4.151
[9 empty] | 201.531 |  |  | 0.246 |  |  | SAH-17 | 0.65 | 0.247
25 | AC19 | 65 | 23.2212 | N | 52 | 53.635 | W | AC |  | 1.7 | 396 |  | 4.886 | 3.865 |  |  |  | 4.963 |  | ▼ | [5 empty] | 3.904
[9 empty] | 203.248 |  |  | 0.6 |  |  | SAH-17 | 0.65 | 0.604
26 | AC20 | 65 | 22.9245 | N | 52 | 53.9406 | W | AC |  | 15.5 | 420 |  | 5.486 | 3.265 |  |  |  | 5.567 |  | ▼ | [5 empty] | 3.3
[9 empty] | 218.764 |  |  | 0.136 |  |  | SAH-17 | 0.29 | 0.137
27 | AC21 | 65 | 22.8672 | N | 52 | 54.051 | W | AC |  | 10.6 | 415 |  | 5.622 | 3.129 |  |  |  | 5.704 |  | ▼ | [5 empty] | 3.163
[9 empty] | 229.412 |  |  | 0.174 |  |  | SAH-17 | 0.18 | 0.174
28 | AC22 | 65 | 22.8063 | N | 52 | 54.2213 | W | AC |  | 2.1 | 415 |  | 5.796 | 2.955 |  |  |  | 5.878 |  | ▼ | [5 empty] | 2.989
[9 empty] | 231.506 |  |  | 0.24 |  |  | SAH-17 | 1.06 | 0.243
29 | AC23 | 65 | 22.726 | N | 52 | 54.4636 | W | AC |  | -3.3 | 414 |  | 6.036 | 2.715 |  |  |  | 6.121 |  | ▼ | [5 empty] | 2.746
[9 empty] | 228.251 |  |  | 0.663 |  |  | SAH-17 | 1.29 | 0.672
30 | AC24 | 65 | 22.4883 | N | 52 | 55.102 | W | AC |  | 2.2 | 342 |  | 6.699 | 2.052 |  |  |  | 6.793 |  | ▼ | [5 empty] | 2.074
[9 empty] | 230.422 |  |  | 0.143 |  |  | SAH-17 | 1.68 | 0.145
31 | AC25 | 65 | 22.4394 | N | 52 | 55.2438 | W | AC |  | 3.4 | 317 |  | 6.842 | 1.909 |  |  |  | 6.938 |  | ▼ | [5 empty] | 1.929
[9 empty] | 233.819 |  |  | 0.316 |  |  | SAH-17 | 0.79 | 0.318
32 | AC26 | 65 | 22.339 | N | 52 | 55.573 | W | AC |  | -0.9 | 325 |  | 7.158 | 1.593 |  |  |  | 7.256 |  | ▼ | [5 empty] | 1.611
[9 empty] | 232.88 |  |  | 0.296 |  |  | SAH-17 | 0.2 | 0.297
33 | AC27 | 65 | 22.2428 | N | 52 | 55.8776 | W | AC |  | 14.9 | 327 |  | 7.454 | 1.297 |  |  |  | 7.553 |  | ▼ | [5 empty] | 1.314
[9 empty] | 247.775 |  |  | 0.105 |  |  | SAH-17 | 0.23 | 0.105
34 | AC28 | 65 | 22.2214 | N | 52 | 56.003 | W | AC |  | 10.9 | 330 |  | 7.559 | 1.192 |  |  |  | 7.658 |  | ▼ | [5 empty] | 1.209
[9 empty] | 258.69 |  |  | 0.363 |  |  | SAH-17 | 1.17 | 0.367
35 | AC29 | 65 | 22.1831 | N | 52 | 56.4615 | W | AC |  | -1 | 293 |  | 7.922 | 0.829 |  |  |  | 8.025 |  | ▼ | [5 empty] | 0.842
[9 empty] | 257.709 |  |  | 0.101 |  |  | SAH-17 | 1.1 | 0.102
36 | AC30 | 65 | 22.1715 | N | 52 | 56.5891 | W | AC |  | -56 | 298 |  | 8.023 | 0.728 |  |  |  | 8.127 |  | ▼ | [5 empty] | 0.74
[9 empty] | 201.734 |  |  | 0.029 |  |  | SAH-17 | 8.49 | 0.031
37 | AC31 | 65 | 22.1574 | N | 52 | 56.6026 | W | AC |  | -36.8 | 310 |  | 8.052 | 0.699 |  |  |  | 8.158 |  | ▼ | [5 empty] | 0.709
[9 empty] | 164.918 |  |  | 0.08 |  |  | SAH-17 | 8.7 | 0.088
38 | AC32 | 65 | 22.1153 | N | 52 | 56.5754 | W | AC |  | 14.4 | 344 |  | 8.132 | 0.619 |  |  |  | 8.246 |  | ▼ | [5 empty] | 0.621
[9 empty] | 179.278 |  |  | 0.042 |  |  | SAH-17 | 3.53 | 0.043
39 | AC33 | 65 | 22.093 | N | 52 | 56.5748 | W | AC |  | 39 | 354 |  | 8.174 | 0.577 |  |  |  | 8.289 |  | ▼ | [5 empty] | 0.578
[9 empty] | 218.322 |  |  | 0.502 |  |  | SAH-17 | 0.22 | 0.503
40 | SJ-ISN-BU MAN-C;TR SAH-17/SAH-20 | 65 | 21.8811 | N | 52 | 56.9761 | W |  |  |  | 365 |  | 8.676 | 0.075 |  |  |  | 8.792 | 8.792 | ▼ | SJ-ISN-BU MAN-C;TR SAH-17/SAH-20 |  |  | JNT-A |  | 0.075
[9 empty] | 218.322 |  |  | 0.075 |  |  | SAH-20 | 0.3 | 0.075 | [5 empty] | 0.3
41 | BU MANIITSOQ | 65 | 21.8496 | N | 52 | 57.0359 | W |  |  |  | 365 |  | 8.751 | 0 |  |  |  | 8.867 | 0.075 | ▼ | [5 empty] | 0
[15 empty] | SAH-17 |  |  | 8.792
[15 empty] | SAH-20 |  |  | 0.075
[15 empty] | TOTAL |  |  | 8.867
Note on B3: Comment: Altitude from shore team data
Note on B9: Comment: HDD Punch Out/Start Bend Restrictor
Note on B11: Comment: End Bend Restrictor/Start AP
Note on B81: Comment: SJ-ISN-BU MAN-C;TR SAH-17/SAH-20
Note on B83: Comment: Altitude from shore team data

## SLD
SJ-ISN-BU MAN-C
BMH MANIITSOQ |  | Cable allowance |  | TR SAH-17/SAH-20 |  | BU MANIITSOQ
| SAH-17 |  | SAH-17 |  | SAH-20
| 0.02 |  | 8.772 |  | 0.075
0 |  | 0.02 |  | 8.792 |  | 8.867
CABLE SUMMARY | [5 empty] | BODIES
CABLE | SAH-17 | SAH-20 | TOTAL |  |  | Joint | 1
[6 empty] | BU | 1
SYSTEM | 8.792 | 0.075 | 8.867
SPARE
TOTAL | 8.792 | 0.075 | 8.867

## Crossings
Comment | Cable Status | Cable Type | Method Located/ Info Srce | Action Needed | Latitude | Longitude | Depth (m) | Cum KP Dist (km) | SYSTEM cable type | Xing Angle (deg) | Crossed Cable Type | Cable Owner | Sediment Type | Distance To SYSTEM RPTR (km) | Distance To Existing RPTR (km)
No crossing
| OOS | Out-of-Service Cable
| IS | In-Service Cable / Pipeline
| PLB | Post lay burial required at in-service crossing
| MAGGIE | Identified by Magnetometer. In-service cables subject 250m PLUP & PLDN
| AF (SSS) | Identified by Side Scan Sonar. In-service cables subject 250m PLUP & PLDN
| AF (SBP) | Identified by Sub-Bottom Profiler. In-service cables subject 250m PLUP & PLDN
| ARCS | Admiralty Charts
| DB (ASN) | ASN Database. In-service cables subject 500m PLUP & PLDN
| DB (GMSL) | Global Marine Systems Limited Database (Date). In-service cables subject 500m PLUP & PLDN